## 原始数据
primer name | Ct |  | Tm
| 30s | 2min | 30s |  | 2min |  | 上机孔位信息表 | line7 | line8 | line9 | line10
20140216002 | 35.87 | 30.53 | 85.18 |  | 81.93 |  |  | 30s |  | 2min
20140216004 | 37.41 | 27.89 | 87.3 |  | 81.25 |  | A | 20140216002 | 20140216022 | 20140216002 | 20140216022
20140216006 | 35.86 | 36.55 | 81.87 | 88.15 | 88.3 |  | B | 20140216004 | 20140216024 | 20140216004 | 20140216024
20140216008 | 37.31 | 37.15 | 86.55 |  | 86.68 |  | C | 20140216006 | 20140216026 | 20140216006 | 20140216026
20140216011 | 36.93 | 34.48 | 82.43 | 87.98 | 88.09 |  | D | 20140216008 | 20140216028 | 20140216008 | 20140216028
20140216013 | 35.52 | 31.45 | 86.29 |  | 82.08 | 86.18 | E | 20140216011 | 20140216032 | 20140216011 | 20140216032
20140216015 | 35.45 | 36.08 | 90.48 |  | 90.52 |  | F | 20140216013 | 20140216034 | 20140216013 | 20140216034
20140216018 | 35.48 | 33.71 | 81.36 | 90.73 | 91.27 |  | G | 20140216015 | 20140216036 | 20140216015 | 20140216036
20140216022 | 15.31 |  | 81.33 |  | 81.39 |  | H | 20140216018 | 20140216038 | 20140216018 | 20140216038
20140216024 | 37.07 | 36.67 | 87.96 |  | 88.04
20140216026 | 23.95 | 17.06 | 82.68 |  | 82.74
20140216028 | 36.97 | 36.77 | 88.49 |  | 84.69 | 88.61
20140216032 | 34.59 | 33.55 | 85.2 |  | 81.86 | 85.17
20140216034 | 34.42 | 33.58 | 86.57 |  | 83.57 | 86.64
20140216036 | 40 | 40 | 88.51 |  | 88.49
20140216038 | 35.65 | 36.47 | 83.38 |  | 83.42

## 实验流程
1.引物mix的配制
从65对引物（100mM)中各取1mL混合，共130mL，加水至160mL,使得每个引物浓度为0.625mM
模板：王灿哥，样本浓度：18.4 ng/mL
2.第一步PCR
反应体系
20 mL | CT SYBR mix | 10 mL
| primer | 8 mL
| template ( 20~40 ng） | 1.5 mL
| ddH2O | 0.5 mL
分别做两个反应程序
反应程序 | 循环数 | 步骤 | 温度 | 时间 |  | 循环数 | 步骤 | 温度 | 时间
| 1 | 预变性 | 95 ℃ | 10 min |  | 1 | 预变性 | 95 ℃ | 10 min
| 25 | 变性 | 95 ℃ | 10 s |  | 25 | 变性 | 95 ℃ | 10 s
|  | 退火 | 60 ℃ | 30 s |  |  | 退火 | 60 ℃ | 2 min
|  | 延伸 | 72 ℃ | 15 s |  |  | 延伸 | 72 ℃ | 15 s
| 1 | 延伸 | 72 ℃ | 10 min |  | 1 | 延伸 | 72 ℃ | 10 min
| 1 | 冷却 | 25 ℃ | ∞ |  | 1 | 冷却 | 25 ℃ | ∞
3.第二步PCR
将上述反应的PCR产物稀释100倍，作为第二步PCR的模板，编号：30s，2min
随机选取16对引物进行该反应
引物名称及顺序见原始数据
反应体系
20 mL | CT SYBR mix | 10 mL
| primer | 2 mL
| template | 1mL
| ddH2O | 7 mL
反应程序 | Roche 480 PCR仪
| 循环数 | 步骤 | 温度 | 时间
| 1 | 预变性 | 95 ℃ | 2min
| 45 | 变性 | 95 ℃ | 10s
|  | 退火 | 60 ℃ | 1min | single
溶解曲线分析
| 步骤 | 温度 | 恒温时间 | 升温速度
| 溶解曲线 | 95 ℃ | 5s | 4.4℃/s
|  | 65 ℃ | 1min | 2.2℃/s
|  | 95 ℃ | continuous | 0.11℃/s
| 冷却 | 40 ℃ | 30s
16对引物，两个模板，四条八连管,引物按照原始数据中顺序排列
八连管编号：line7,8,9,10
line7，8 模板为30s PCR产物
line9，19 模板为2min PCR产物

## Ct
Experiment: 2015-09-07 ZX(HPV takara vs CT probemix line4-6) XYL kidney mix line 7-10 Selected Filter: SYBR Green I / HRM Dye (465-510)
Include | Color | Pos | Name | Cp | Concentration | Standard | Status
TRUE | 255 | A7 | Sample 7 | 35.87 |  | 0
TRUE | 255 | B7 | Sample 19 | 37.41 |  | 0
TRUE | 255 | C7 | Sample 31 | 35.86 |  | 0
TRUE | 255 | D7 | Sample 43 | 37.31 |  | 0
TRUE | 255 | E7 | Sample 55 | 36.93 |  | 0
TRUE | 255 | F7 | Sample 67 | 35.52 |  | 0
TRUE | 255 | G7 | Sample 79 | 35.45 |  | 0
TRUE | 255 | H7 | Sample 91 | 35.48 |  | 0
Experiment: 2015-09-07 ZX(HPV takara vs CT probemix line4-6) XYL kidney mix line 7-10 Selected Filter: SYBR Green I / HRM Dye (465-510)
Include | Color | Pos | Name | Cp | Concentration | Standard | Status
TRUE | 255 | A8 | Sample 8 | 15.31 |  | 0
TRUE | 255 | B8 | Sample 20 | 37.07 |  | 0
TRUE | 255 | C8 | Sample 32 | 23.95 |  | 0
TRUE | 255 | D8 | Sample 44 | 36.97 |  | 0
TRUE | 255 | E8 | Sample 56 | 34.59 |  | 0
TRUE | 255 | F8 | Sample 68 | 34.42 |  | 0
TRUE | 255 | G8 | Sample 80 | 40 |  | 0 | > - Late Cp call (last five cycles) has higher uncertainty
TRUE | 255 | H8 | Sample 92 | 35.65 |  | 0
Experiment: 2015-09-07 ZX(HPV takara vs CT probemix line4-6) XYL kidney mix line 7-10 Selected Filter: SYBR Green I / HRM Dye (465-510)
Include | Color | Pos | Name | Cp | Concentration | Standard | Status
TRUE | 255 | A9 | Sample 9 | 30.53 |  | 0
TRUE | 255 | B9 | Sample 21 | 27.89 |  | 0
TRUE | 255 | C9 | Sample 33 | 36.55 |  | 0
TRUE | 255 | D9 | Sample 45 | 37.15 |  | 0
TRUE | 255 | E9 | Sample 57 | 34.48 |  | 0
TRUE | 255 | F9 | Sample 69 | 31.45 |  | 0
TRUE | 255 | G9 | Sample 81 | 36.08 |  | 0
TRUE | 255 | H9 | Sample 93 | 33.71 |  | 0
Experiment: 2015-09-07 ZX(HPV takara vs CT probemix line4-6) XYL kidney mix line 7-10 Selected Filter: SYBR Green I / HRM Dye (465-510)
Include | Color | Pos | Name | Cp | Concentration | Standard | Status
TRUE | 65280 | A10 | Sample 10 |  |  | 0
TRUE | 255 | B10 | Sample 22 | 36.67 |  | 0
TRUE | 255 | C10 | Sample 34 | 17.06 |  | 0
TRUE | 255 | D10 | Sample 46 | 36.77 |  | 0
TRUE | 255 | E10 | Sample 58 | 33.55 |  | 0
TRUE | 255 | F10 | Sample 70 | 33.58 |  | 0
TRUE | 255 | G10 | Sample 82 | 40 |  | 0 | > - Late Cp call (last five cycles) has higher uncertainty
TRUE | 255 | H10 | Sample 94 | 36.47 |  | 0

## Tm
Experiment: 2015-09-07 ZX(HPV takara vs CT probemix line4-6) XYL kidney mix line 7-10 Selected Filter: SYBR Green I / HRM Dye (465-510)
Include | Color | Pos | Name | Tm1 | Tm2 | Status
TRUE | 255 | A7 | Sample 7 | 85.18
TRUE | 255 | B7 | Sample 19 | 87.3
TRUE | 3200768 | C7 | Sample 31 | 81.87 | 88.15
TRUE | 255 | D7 | Sample 43 | 86.55
TRUE | 3200768 | E7 | Sample 55 | 82.43 | 87.98
TRUE | 255 | F7 | Sample 67 | 86.29
TRUE | 255 | G7 | Sample 79 | 90.48
TRUE | 3200768 | H7 | Sample 91 | 81.36 | 90.73
Experiment: 2015-09-07 ZX(HPV takara vs CT probemix line4-6) XYL kidney mix line 7-10 Selected Filter: SYBR Green I / HRM Dye (465-510)
Include | Color | Pos | Name | Tm1 | Tm2 | Status
TRUE | 255 | A8 | Sample 8 | 81.33
TRUE | 255 | B8 | Sample 20 | 87.96
TRUE | 255 | C8 | Sample 32 | 82.68
TRUE | 255 | D8 | Sample 44 | 88.49
TRUE | 255 | E8 | Sample 56 | 85.2
TRUE | 255 | F8 | Sample 68 | 86.57
TRUE | 255 | G8 | Sample 80 | 88.51
TRUE | 255 | H8 | Sample 92 | 83.38
Experiment: 2015-09-07 ZX(HPV takara vs CT probemix line4-6) XYL kidney mix line 7-10 Selected Filter: SYBR Green I / HRM Dye (465-510)
Include | Color | Pos | Name | Tm1 | Tm2 | Status
TRUE | 255 | A9 | Sample 9 | 81.93
TRUE | 255 | B9 | Sample 21 | 81.25
TRUE | 255 | C9 | Sample 33 | 88.3
TRUE | 255 | D9 | Sample 45 | 86.68
TRUE | 255 | E9 | Sample 57 | 88.09
TRUE | 3200768 | F9 | Sample 69 | 82.08 | 86.18
TRUE | 255 | G9 | Sample 81 | 90.52
TRUE | 255 | H9 | Sample 93 | 91.27
Experiment: 2015-09-07 ZX(HPV takara vs CT probemix line4-6) XYL kidney mix line 7-10 Selected Filter: SYBR Green I / HRM Dye (465-510)
Include | Color | Pos | Name | Tm1 | Tm2 | Status
TRUE | 255 | A10 | Sample 10 | 81.39
TRUE | 255 | B10 | Sample 22 | 88.04
TRUE | 255 | C10 | Sample 34 | 82.74
TRUE | 3200768 | D10 | Sample 46 | 84.69 | 88.61
TRUE | 3200768 | E10 | Sample 58 | 81.86 | 85.17
TRUE | 3200768 | F10 | Sample 70 | 83.57 | 86.64
TRUE | 255 | G10 | Sample 82 | 88.49
TRUE | 255 | H10 | Sample 94 | 83.42